**Apply for Building Permits**

[**Lot Legality Determination**](file:///C%3A%5CUsers%5Ccmanzeck%5CAppData%5CLocal%5CMicrosoft%5CWindows%5CINetCache%5CContent.Outlook%5CTULFM6V3%5CLot%20Legality%20Determination)

**Permit reviewed by EH/Consultant. Conditionally approved**

**Review pumping history reports by a license waste hauler. Permit history. Provide a as built that clears all setbacks of the location of functioning system.**

**Yes**

**YES**

[**Sewage Disposal Checklist**](file:///C%3A%5CUsers%5Ccmanzeck%5CAppData%5CLocal%5CMicrosoft%5CWindows%5CINetCache%5CContent.Outlook%5CTULFM6V3%5CSewage%20Disposal%20Checklist)

[**Sewage Disposal Technical Checklist**](file:///C%3A%5CUsers%5Ccmanzeck%5CAppData%5CLocal%5CMicrosoft%5CWindows%5CINetCache%5CContent.Outlook%5CTULFM6V3%5CSewage%20Disposal%20Technical%20Checklist)

[**File Information Summary**](file:///C%3A%5CUsers%5Ccmanzeck%5CAppData%5CLocal%5CMicrosoft%5CWindows%5CINetCache%5CContent.Outlook%5CTULFM6V3%5CFile%20Information%20Summary)

[**Site Evaluation Form**](file:///C%3A%5CUsers%5Ccmanzeck%5CAppData%5CLocal%5CMicrosoft%5CWindows%5CINetCache%5CContent.Outlook%5CTULFM6V3%5CSite%20Evaluation%20Form)

[**Upgrade**](http://scceh.com/Home/Programs/LandUse%2CSewageDisposalWasteWaterManagement/StandardsfortheRepairofSepticSystems.aspx) **permit required**

**Repair permit required**

**Apply for new septic system**

**6 Apply for site evaluation,**

**Will determine what permit will be required.**

[**Evaluation Link**](file:///C%3A%5CUsers%5Ccmanzeck%5CAppData%5CLocal%5CMicrosoft%5CWindows%5CINetCache%5CContent.Outlook%5CTULFM6V3%5CEvalauation%20Link)

**Obtain EH clearance and conditional approval**

**System is in functional condition and as built has been verified?**

**Submit service report from onsite system provider**

**OSSP.**

**System needs** [**repair**](http://scceh.com/Home/Programs/LandUse%2CSewageDisposalWasteWaterManagement/StandardsfortheRepairofSepticSystems/SepticRepairProcedures.aspx) **or** [**upgrade**](http://scceh.com/Home/Programs/LandUse%2CSewageDisposalWasteWaterManagement/StandardsfortheRepairofSepticSystems.aspx)

**No**

**Work with a qualified professional (QP) to perform required testing and design a septic system sized according to what you plan on building.**

**Provide as built**

**Setbacks, groundwater, fast percolations may require ET system to Conventional System.**

**Conventional Septic System**

**“ET”**

**Engineered System**

**5 # of Bedrooms match EH records sqft in compliance with up to the max sqft added (499 sqft)**

**4 No records of permitted septic system**

**3 Records indicate history of septic failure**

**2 EH Septic
records permitted history**

 **1 EH Records**

**REBUILDING IN “KIND”**

**NO**

**Permit reviewed by EH/Consultant. Conditionally approved**